## Slide 1
Heart Rate Monitoring
(PPG)

## Slide 2: GROUP MEMBERS
Samit Hasan | 1606056
Khondoker Al Mamun | 1606034
Md. Nasim Afroj Taj | 1606037
Sakib Chowdhury | 1606044
Md. Akibul Hasan Mazumder | 1606051
Md. Sultan Mahmud | 1606050

## Slide 3: PROJECT OBJECTIVE
To analyze Heart Beat from a given dataset.
To eliminate noise from the data (filtering)
Plot filtered heartbeat data
Determine heart beat

## Slide 4: METHODOLOGY
Take the data set provided as input
Design a Band Pass Filter with cutoff frequencies at 30 to 200 bpm
Filter the given data with the BPF
Plot the filtered output
Determine the heart rate and comment on it
Additionally determine Heart Rate by ACF for crosscheck purpose
1 bpm = frequency (in HERTZ)*60

## Slide 5: PROCEDURE
At first We took the data set 009.mat as input and plotted as it was
We took 30 bpm and 200 bpm as the cutoffs of BPF as we’re suggested

## Slide 6
Unfiltered plot of 009.mat
(in time domain)

## Slide 7
Unfiltered fft plotting of given data (In frequency domain)

## Slide 8
We designed a bandpass filter using two low pass filters with respective cutoffs at 30 and 200 bpm…
BPF = LPF200 - LPF30
[controls of both LPF are kept flexible]

## Slide 9
Designed BPF response in time domain
BPF response in frequency domain
BPFdB response in frequency domain
Filter response plotting

## Slide 10
Then we filtered the data set 009.mat with the BPF we designed and plotted filtered output in frequency and time domain
Filtered fft plotting of given data
(In frequency domain)

## Slide 11
Filtered plot of 009.mat
(in time domain)

## Slide 12
Then we determined the Heart rate in BPM and commented on it.

## Slide 13
Additionally we found the ACF and crosschecked our calculated data

## Slide 14
We used another technique of designing a BPF and got the same results
Here we first filtered the input signal with a HPF with cutoff at 30bpm. Then we filtered the output signal with a LPF with cutoff at 200bpm.
Our target BPF was achieved
We ran this program for some other inputs. The results are shown on the nesxt slides

## Slide 15
0023_8min.mat

## Slide 16
6.mat
We got this huge error as the sampling frequency was not provided and so we used an arbitrary one
[300Hz]

## Slide 17
Discussion
We choose Kaiser window for its efficiency and better controlling opportunity.
(Filters using remez and remezord algorithm may have given more control.)
For some data sets the Sampling Frequency was absent. So, we couldn’t get desired output using an arbitrary sampling rate.